## Summary
| Set Current (A) | Transducer Readback Current (A) | Measured GL (G) | Old Map GL (G) | % Diff |  | Hall Probe on Pole | Hall (*-1)
298.917 | 300 | 0.99639 | -5.2321 | -50634 | -99.99% | -52321.44 | 5604 | -5604
249.052 | 250 | 0.83017 | -4.4467 | -42648.332 | -99.99% | -44466.6046 | 4760 | -4760
199.426 | 200 | 0.66475 | -3.5811 | -34312.668 | -99.99% | -35810.7263 | 3827.5 | -3827.5
149.701 | 150 | 0.499 | -2.6986 | -25791 | -99.99% | -26986.3783 | 2877 | -2877
100.019 | 100 | 0.3334 | -1.8138 | -17210.666 | -99.99% | -18137.9009 | 1928.5 | -1928.5
50.254 | 50 | 0.16751 | -0.9237 | -8623.334 | -99.99% | -9236.994 | 979 | -979
10.466 | 10 | 0.034887 | -0.21198 | -1904 | -99.99% | -2119.7911 | 221 | -221
| 0 | 0 |  |  |  |  | 24 | -24
-10.49 | -10 | -0.034967 | 0.16483 | 1574.667 | -99.99% | 1648.2917 | -174.5 | 174.5
-50.332 | -50 | -0.16777 | 0.87553 | 8622 | -99.99% | 8755.328 | -929.5 | 929.5
-100.106 | -100 | -0.33369 | 1.7643 | 17204 | -99.99% | 17643.0414 | -1872.5 | 1872.5
-149.678 | -150 | -0.49893 | 2.6481 | 25804 | -99.99% | 26480.6257 | -2811 | 2811
-198.006 | -200 | -0.66002 | 3.5299 | 34311.668 | -99.99% | 35298.6557 | -3749.5 | 3749.5
-249.357 | -250 | -0.83119 | 4.3945 | 42677 | -99.99% | 43945.1411 | -4668.5 | 4668.5
-298.923 | -300 | -0.99641 | 5.2279 | 50680 | -99.99% | 52279.4369 | -5559.5 | 5559.5
| Transducer (V) | I (A) | BL (G-cm) | B (G) | Leff (cm)
| 5.9797 | 298.985 | 253514.7048 | -5668.4 | 44.7242
Notes:
Gradiant values deterined from fit to7 BL stretched wire measurements along the vertical midplane of the quadrupole at each current
Effective length of the quadrupole was checked using stepped hall probe measurements along the upper beam right pole.
| Chamber Dimension (in) | [7 empty] | 300 | 298.917 | 0.99639 | -5.2321 | -52321.44
| OD | 4 | [6 empty] | 250 | 249.052 | 0.83017 | -4.4467 | -44466.6046
| ID | 3.87 | [6 empty] | 200 | 199.426 | 0.66475 | -3.5811 | -35810.7263
[9 empty] | 150 | 149.701 | 0.499 | -2.6986 | -26986.3783
[9 empty] | 100 | 100.019 | 0.3334 | -1.8138 | -18137.9009
[9 empty] | 50 | 50.254 | 0.16751 | -0.9237 | -9236.994
[9 empty] | 10 | 10.466 | 0.034887 | -0.21198 | -2119.7911
[9 empty] | 0 |  | 0 | 0
[9 empty] | -10 | -10.49 | -0.034967 | 0.16483 | 1648.2917
[9 empty] | -50 | -50.332 | -0.16777 | 0.87553 | 8755.328
[9 empty] | -100 | -100.106 | -0.33369 | 1.7643 | 17643.0414
[9 empty] | -150 | -149.678 | -0.49893 | 2.6481 | 26480.6257
[9 empty] | -200 | -198.006 | -0.66002 | 3.5299 | 35298.6557
[9 empty] | -250 | -249.357 | -0.83119 | 4.3945 | 43945.1411
[9 empty] | -300 | -298.923 | -0.99641 | 5.2279 | 52279.4369

## Hall Probe Measurements
| BR TOP Pole |  |  | Chamber Dimension (in)
| dz | B |  | OD | 4
-10 | -0.25 | -23.1439 | 5.786 | ID | 3.87
-9.5 | -0.5 | -26.4209 | 13.2104 | Transducer | I (A) | BL | B | Leff
-9 | -0.5 | -30.3123 | 15.1561 | 5.9797 | 298.985 | 253514.7048 | -5668.4 | 44.7242
-8.5 | -0.5 | -35.023 | 17.5115
-8 | -0.5 | -40.7578 | 20.3789 | Readings Taken at R=4.6cm (approximate)
-7.5 | -0.5 | -47.3118 | 23.6559
-7 | -0.5 | -55.0947 | 27.5473
-6.5 | -0.5 | -64.1064 | 32.0532
-6 | -0.5 | -75.1663 | 37.5832
-5.5 | -0.5 | -88.0695 | 44.0348
-5 | -0.5 | -103.4305 | 51.7152
-4.5 | -0.5 | -121.8636 | 60.9318
-4 | -0.5 | -143.7786 | 71.8893
-3.5 | -0.5 | -170.1995 | 85.0997
-3 | -0.5 | -201.7406 | 100.8703
-2.5 | -0.5 | -239.631 | 119.8155
-2 | -0.5 | -285.5091 | 142.7545
-1.5 | -0.5 | -340.1941 | 170.0971
-1 | -0.5 | -406.3487 | 203.1743
-0.5 | -0.5 | -486.6353 | 243.3176
0 | -0.5 | -583.5118 | 291.7559
0.5 | -0.5 | -700.8695 | 350.4348
1 | -0.5 | -843.4193 | 421.7096
1.5 | -0.5 | -1017.5102 | 508.7551
2 | -0.5 | -1233.3829 | 616.6914
2.5 | -0.5 | -1494.5193 | 747.2596
3 | -0.5 | -1852.9417 | 926.4709
3.5 | -0.5 | -2313.5658 | 1156.7829
4 | -0.5 | -2955.4492 | 1477.7246
4.5 | -0.5 | -3893.0824 | 1946.5412
5 | -0.5 | -5232.1487 | 2616.0743
5.5 | -0.5 | -6645.9717 | 3322.9858
6 | -0.5 | -6560.5647 | 3280.2824
6.5 | -0.5 | -6194.769 | 3097.3845
7 | -0.5 | -5973.7759 | 2986.888
7.5 | -0.5 | -5854.5749 | 2927.2874
8 | -0.5 | -5784.9385 | 2892.4693
8.5 | -0.5 | -5743.5663 | 2871.7832
9 | -0.5 | -5717.7599 | 2858.8799
9.5 | -0.5 | -5701.9893 | 2850.9947
10 | -0.5 | -5692.7727 | 2846.3864
10.5 | -0.5 | -5685.6043 | 2842.8021
11 | -0.5 | -5681.508 | 2840.754
11.5 | -0.5 | -5678.8455 | 2839.4227
12 | -0.5 | -5676.7973 | 2838.3987
12.5 | -0.5 | -5674.5444 | 2837.2722
13 | -0.5 | -5673.1107 | 2836.5553
13.5 | -0.5 | -5672.0866 | 2836.0433
14 | -0.5 | -5671.0626 | 2835.5313
14.5 | -0.5 | -5671.2674 | 2835.6337
15 | -5.316 | -5668.4 | 30133.2144
25.132 | -5.066 | -5668.4 | 28716.1144
25.132 | -5.166 | -5668.4 | 29282.9544
35.464 | -5.416 | -5668.4 | 30700.0544
35.964 | -0.5 | -5672.3607 | 2836.1803
36.464 | -0.5 | -5675.8813 | 2837.9406
36.964 | -0.5 | -5679.4019 | 2839.701
37.464 | -0.5 | -5683.1425 | 2841.5713
37.964 | -0.5 | -5686.6632 | 2843.3316
38.464 | -0.5 | -5690.6238 | 2845.3119
38.964 | -0.5 | -5694.3645 | 2847.1822
39.464 | -0.5 | -5700.7456 | 2850.3728
39.964 | -0.5 | -5708.4469 | 2854.2235
40.464 | -0.5 | -5717.9086 | 2858.9543
40.964 | -0.5 | -5732.4311 | 2866.2155
41.464 | -0.5 | -5754.2148 | 2877.1074
41.964 | -0.5 | -5788.5408 | 2894.2704
42.464 | -0.5 | -5842.4501 | 2921.225
42.964 | -0.5 | -5927.1647 | 2963.5824
43.464 | -0.5 | -6057.8673 | 3028.9337
43.964 | -0.5 | -6223.556 | 3111.778
44.464 | -0.5 | -6175.1476 | 3087.5738
44.964 | -0.5 | -5383.6708 | 2691.8354
45.464 | -0.5 | -4301.7437 | 2150.8719
45.964 | -0.5 | -3395.187 | 1697.5935
46.464 | -0.5 | -2713.5091 | 1356.7546
46.964 | -0.5 | -2203.901 | 1101.9505
47.464 | -0.5 | -1810.473 | 905.2365
47.964 | -0.5 | -1498.239 | 749.1195
48.464 | -0.5 | -1245.4153 | 622.7077
48.964 | -0.5 | -1038.1395 | 519.0697
49.464 | -0.5 | -866.7298 | 433.3649
49.964 | -0.5 | -723.9252 | 361.9626
50.464 | -0.5 | -605.3247 | 302.6623
50.964 | -0.5 | -507.1877 | 253.5938
51.464 | -0.5 | -440.7362 | 220.3681
51.964 | -0.5 | -361.9626 | 180.9813
52.464 | -0.5 | -299.9119 | 149.9559
52.964 | -0.5 | -250.8434 | 125.4217
53.464 | -0.5 | -210.7964 | 105.3982
53.964 | -0.5 | -177.3507 | 88.6753
54.464 | -0.5 | -149.6259 | 74.8129
54.964 | -0.5 | -126.5219 | 63.2609
55.464 | -0.5 | -107.1585 | 53.5793
55.964 | -0.5 | -90.8757 | 45.4379
56.464 | -0.5 | -77.4534 | 38.7267
56.964 | -0.5 | -66.0114 | 33.0057
57.464 | -0.5 | -56.3297 | 28.1649
57.964 | -0.5 | -48.4084 | 24.2042
58.464 | -0.5 | -41.5872 | 20.7936
58.964 | -0.5 | -35.8662 | 17.9331
59.464 | -0.5 | -31.0254 | 15.5127
59.964 | -0.5 | -27.0647 | 13.5323
60.464 | -0.25 | -23.5441 | 5.886 | 44.7274